## TAKEOFF BREAKDOWN
DETAILED BREAKDOWN OF ITEMS
CLIENT'S INFORMATION
CONTACT:
COMPANY:
E-MAIL ADDRESS:
PHONE NUMBER:
PROJECT ID: SAMPLE ELECTRICAL, COMMUNICATIONS, SAFETY & SECURITY
2025-01-23
ITEM # | DWG. # | DETAIL # | CSI # | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | UNIT MANHOUR | TOTAL HOURS | HOURLY WAGE | UNIT COST (MATERIAL) | UNIT COST (LAB. + EQUIP.) | TOTAL COST (MATERIAL) | TOTAL COST (LAB. + EQUIP.) | ITEM COST | TRADE COST
|  |  | 10000 | DIVISION 01 - GENERAL REQUIRMENTS
1 |  |  |  | Mobilization & Demobilization | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  | Bond & Insurance | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  | Project Supervision & Project Management | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  | Submittals, Samples, Shop Drawings, Site Safety Plans Etc. | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  | Project Schedule | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  | Temporary Facilities & Controls | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  | Closeout Procedures | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  | Office Overhaed | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  | Permits | 1 | 0% | 1 | LS | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal (General Requirments) | [5 empty] | 0 |  |  |  | 0 | 0 |  | 0
|  |  | 260000 | DIVISION 26 - ELECTRICAL
POWER FIXTURES
10 |  |  |  | Duplex Receptacle | 325 | 0% | 325 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  | Duplex Receptacle Controlled By Occupancy Sensor Via Power Pack | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  |  | GFCI Duplex Receptacle | 89 | 0% | 89 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  |  | Weatherproof GFCI Duplex Receptacle | 50 | 0% | 50 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  | Provide Plug-In Unit W/Circuit Breaker Type Plug-In Unit L-20R On 5'-0" Drop Cord | 78 | 0% | 78 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  | Single Receptacle GFCI Type | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  | Special Purpose Receptacle NEMA L5-20R | 34 | 0% | 34 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  | Quadplex Receptacle | 332 | 0% | 332 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  |  | AV System 2-Gang Junction Box | 152 | 0% | 152 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  | Quadplex Receptacle Floor Mounted | 14 | 0% | 14 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  | 2-Gang Junction Box With Blank Cover Plate | 20 | 0% | 20 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  |  | Room Relay Pack Receptacle Control | 83 | 0% | 83 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  |  | 4-Gang High Capacity Media Box Floor Mounted | 27 | 0% | 27 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  |  | 2-Gang Junction Box With Blank Cover | 19 | 0% | 19 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  |  | VFD Provided By Vendor And Installed By Electrical Contractor | 7 | 0% | 7 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  |  | Ceiling Mounted Occupancy Sensor Dual Technology Small Motion | 101 | 0% | 101 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  |  | PP Programmable Power Pack | 82 | 0% | 82 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  |  | (3) 4" Conduit Sleeve With Nylon Bushing Through Wall | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCH
28 |  |  |  | Non Fused Disconnect 30Amp, 3P | 17 | 0% | 17 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  | Fused Disconnect 30Amp, 2P | 12 | 0% | 12 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  |  | Non Fused Disconnect 60Amp, 3P | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  |  | Fused Disconnect 100Amp, 2P | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
SWITCHES
32 |  |  |  | EPC Mushroom Emergency Power Shutoff Switch | 24 | 0% | 24 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  |  | Manual No-Reversing Horse Power Rated Thermal Switch | 10 | 0% | 10 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  |  | Garbage Disposal ON/Off Switch | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  | Automatic Transfer Switch For Chilled Water Pump | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  |  | Single Pole Toggle Switch | 23 | 0% | 23 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  |  | 3-Way Toggle Switch | 13 | 0% | 13 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  |  | 4-Way Toggle Switch | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  |  | Occupancy Sensor Switch | 67 | 0% | 67 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
40 |  |  |  | L3: 4' Surface Luminaire 3000 Lumens, 30W | 107 | 0% | 107 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  | L3E: 4' Surface Luminaire With (2) 7W Emergency Battery Packs 3000 Lumens, 30W | 18 | 0% | 18 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  | L4: 4' Surface Luminaire 5000 Lumens, 41W | 171 | 0% | 171 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  |  | L4E: 4' Surface Luminaire With (2) 7W Emergency Battery Packs 5000 Lumens, 41W | 18 | 0% | 18 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  |  | L6: 2' x 2' Volumetric Luminaire 3300 Lumens, 26.3W | 71 | 0% | 71 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  |  | L6E: 2' x 2' Volumetric Luminaire With 90 Min Emergency Battery Backup 3300 Lumens, 26.3W | 5 | 0% | 5 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  |  | L7: 2' x 4' Volumetric Luminaire 4000 Lumens, 33.1W | 40 | 0% | 40 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  | L7E: 2' x 4' Volumetric Luminaire With 90 Min Emergency Battery Backup 4000 Lumens, 33.1W | 5 | 0% | 5 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  | L9: 4' Surface Luminaire 2000 Lumens, 16W | 18 | 0% | 18 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  |  | L9E: 4' Surface Luminaire With Self Diagnostic Emergency Battery Backup 2000 Lumens, 16W | 14 | 0% | 14 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  | L10: 4' Surface Wrap Around Luminaire 3000 Lumens, 26.7W | 20 | 0% | 20 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  |  | L11: 2' x 2' LED Flat Panel 2000 Lumens, 18.7W | 34 | 0% | 34 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  |  | L11E: 2' x 2' LED Flat Panel With Emergency Battery Backup 2000 Lumens, 18.7W | 20 | 0% | 20 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  |  | L12: 4' Suspended Linera Luminaire 1300 Lumens, 52W | 11 | 0% | 11 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  |  | L13: 4' Suspended Linera Indirect Luminaire 1300 Lumens, 52W | 112 | 0% | 112 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  |  | L14: 2' Suspended Linera Luminaire 2500 Lumens, 22W | 7 | 0% | 7 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  |  | L14E: 2' Suspended Linera Luminaire With 7W Battery Backup 2500 Lumens, 22W | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  |  | L15: 2' Surface Linera Luminaire 2000 Lumens, 13.4W | 15 | 0% | 15 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  |  | L16: 4' Suspended Linera Indirect Luminaire 1300 Lumens, 52W | 0 | 0% | 0 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  |  | R1: 6" Recessed Downlight 500 Lumens, 5.8W | 81 | 0% | 81 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  |  | R1E: 6" Recessed Downlight 500 Lumens, 5.8W | 21 | 0% | 21 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  |  | R2: 6" Recessed Shower Downlight 1000 Lumens, 8.8W | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  |  | WP1E: Wall Pack Luminaire With Emergency Battery Backup 1200 Lumens, 10W | 10 | 0% | 10 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  |  | WP2: Wall Pack Luminaire 1200 Lumens, 10W | 25 | 0% | 25 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  |  | WP3: Wall Pack Luminaire 1200 Lumens, 10W | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  |  | EX1: Red Exit Light (2) 1.5W Adjustable Lights Battery Backup | 38 | 0% | 38 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  |  | EM3: Emergency Light (2) 3.3W Adjustable Lights Battery Backup | 7 | 0% | 7 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
SWITCHGEARS
67 |  |  |  | SWGR-1A; Switchgear 4000A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  |  | SWGR-1B; Switchgear 4000A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  |  | SWGR-2A; Switchgear 4000A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  |  | SWGR-2B; Switchgear 4000A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  |  | SWGR-3; Switchgear 4000A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  |  | 15KV Finegay Pad Mounted Switchgear | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
UPS AND CABINETS
73 |  |  |  | UPS 1A With Battery Cabinet | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  |  | UPS 1B With Battery Cabinet | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  |  | UPS 2A With Battery Cabinet | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  |  | UPS 2B With Battery Cabinet | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  |  | Tie Cabinet 1 | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  |  | Tie Cabinet 2 | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  |  | Generator Connection Cabinet | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
SWITCHBOARDS
80 |  |  |  | SWBD-1A: Switchboard 2500A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  |  | SWBD-1B: Switchboard 2500A, 100KAIC, 480V, 3PH | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  |  | J001B 15KV Pad Mounted VFI Switch | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  |  | Secondary Unit Substation A | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  | Secondary Unit Substation B | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
AUTOMATIC TRANSFER SWITCHES
85 |  |  |  | ATS-1C Automatic Transfer Switch 600A, 480V, 3PH, 4W | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  |  | ATS-1D Automatic Transfer Switch 600A, 480V, 3PH, 4W | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  |  | ATS-4 Automatic Transfer Switch 600A, 480V, 3PH, 4W | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  |  | ATS-4 Automatic Transfer Switch 50A, 480V, 3PH, 4W | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
TRANSFORMERS
89 |  |  |  | Transformer Dry Type 112.5 KV 208/120V | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  |  | Transformer Dry Type 45 KV 208/120V | 5 | 0% | 5 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  |  | Transformer Dry Type 75 KV 208/120V | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  |  | Transformer Dry Type 75 KV 208/120V | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  |  | Transformer Dry Type 75 KV 208/120V | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
PDU POWER DISTRIBUTION UNITS
94 |  |  |  | PDU: Power Distribution Unit 175A Main Breaker 100KVA Transformer 480/208V Data Rack Sub-Feed Breakers | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  |  | PDU: Power Distribution Unit 350A Main Breaker 225KVA Transformer 480/208V Data Rack Sub-Feed Breakers | 8 | 0% | 8 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  |  | PDU: Power Distribution Unit 225A Main Breaker 150KVA Transformer 480/208V Data Rack Sub-Feed Breakers | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  |  | PDU: Power Distribution Unit 500A Main Breaker 350KVA Transformer 480/208V Data Rack Sub-Feed Breakers | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  |  | PDU: Power Distribution Unit 500A Main Breaker 300KVA Transformer 480/208V Data Rack Sub-Feed Breakers | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
PANELS
99 |  |  |  | Electrical Panel 1200A, 480V, 3PH, 4W | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  |  | Electrical Panel 800A, 480V, 3PH, 4W | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  |  | Electrical Panel 225A, 480V, 3PH, 4W | 34 | 0% | 34 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  |  | Electrical Panel 125A, 480V, 3PH, 4W | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  |  | Electrical Panel 100A, 480V, 3PH, 4W | 13 | 0% | 13 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  |  | Electrical Panel 50A, 480V, 3PH, 4W | 5 | 0% | 5 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
WIRING AND CONDUITS
105 |  |  |  | 3/4" EMT Conduit | 12905 | 10% | 14195.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  |  | #12 AWG Wiring | 38715 | 10% | 42586.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
LECTRICAL FEEDERS
107 |  |  |  | #500 KCMIL Cable | 2250 | 10% | 2475 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  |  | #350 KCMIL Cable | 310 | 10% | 341 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  |  | #4/0 AWG THWN Wire | 965 | 10% | 1061.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  |  | #1 AWG Wire | 140 | 10% | 154 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  |  | #3/0 AWG THWN Wire | 430 | 10% | 473 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  |  | #6 AWG Wire | 170 | 10% | 187 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  |  | #1/0 AWG Wire | 1050 | 10% | 1155 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  |  | #3 AWG Wire | 35 | 10% | 38.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  |  | #2 GND Wire | 130 | 10% | 143 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  |  | #6 GND Wire | 245 | 10% | 269.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  |  | #8 GND Wire | 150 | 10% | 165 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  |  | 1" EMT Conduit | 735 | 10% | 808.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  |  | 3"EMT Conduit | 1120 | 10% | 1232 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  |  | 4"EMT Conduit | 315 | 10% | 346.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
ELECTRICAL SITE
121 |  |  |  | Pull Box | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  |  | Traffic Light | 15 | 0% | 15 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  |  | Access Gate Controller | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  |  | Security Camera With Pole | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  |  | Card Reader | 8 | 0% | 8 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  |  | GFCI Water Meter Receptacle | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
127 |  |  |  | Beacon Light | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
128 |  |  |  | 1" PVC With Pull Wire | 1248.43 | 10% | 1373.273 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  |  | P1: Pole Mounted Area Light 7286 Lumens, 51W Pole Height: 28' AFG | 26 | 0% | 26 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
130 |  |  |  | P2: Pole Mounted Area Light 7286 Lumens, 51W Pole Height: 28' AFG | 6 | 0% | 6 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
GROUNDIDNG & BONDING
131 |  |  |  | 3/4" X 10' Long Grounding Rod | 70 | 0% | 70 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
132 |  |  |  | Reinforced Concrete Ground Test Well Szize: 12" x 12" x 12" 3/4" x 10' Long Grounding Rod | 8 | 0% | 8 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
133 |  |  |  | Exothermic Grounding Connection | 22 | 0% | 22 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
134 |  |  |  | Grounding Rebar To Grounding Ring Connection | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
135 |  |  |  | #4/0 Soft Drawn Bare Copper Ground Ring | 1393 | 10% | 1532.3 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
136 |  |  |  | Grounding Bus Bar | 19 | 0% | 19 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
137 |  |  |  | 4" x 4" #6 AWG Copper Mesh Gris Embeded In Concerete | 2130.07 | 10% | 2343.077 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  |  | Bond Raised Floor Pedestal | 19 | 0% | 19 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  |  | 3" x 1/16" Copper Strap For Mesh Connection | 320.38 | 10% | 352.418 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
140 |  |  |  | #1/0 Bare Copper Strap For Mesh Connection | 52.17 | 10% | 57.387 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  |  | Four- Stud Earthbridges Cast Into Floor In 2' x 2' Grid | 8 | 0% | 8 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  |  | Bond Condenser Skids To Ground Ring | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
LIGHTNING PROTECTION
143 |  |  |  | Tee Splice | 64 | 0% | 64 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
144 |  |  |  | Embeded Lightning Conductor | 1478 | 10% | 1625.8 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
145 |  |  |  | Side Mount Mast | 23 | 0% | 23 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
146 |  |  |  | Flat Mount Air Terminal | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  |  | Handrail Mounted Air Terminal | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
148 |  |  |  | Wall Mount Air Terminal | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
149 |  |  |  | Bond Antenna Mount To Lighting Protection | 21 | 0% | 21 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
150 |  |  |  | Bi-Metallic Splice At Base Of Lightning Mast | 23 | 0% | 23 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  |  | 2' Air Terminal On Roof | 12 | 0% | 12 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal (Electrical) | [5 empty] | 0 |  |  |  | 0 | 0 |  | 0
|  |  | 270000 | DIVISION 27 - COMMUNICATIONS
COMMUNICATION FIXTURES
152 |  |  |  | Utility Data Outlet | 80 | 0% | 80 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  |  | Standard Data Outlet | 87 | 0% | 87 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  |  | Sipr Outlet | 123 | 0% | 123 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
155 |  |  |  | Utility outlet Floor Box | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  |  | 4" Conduits from THH | 380 | 10% | 418 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
157 |  |  |  | Sipr Outlet In Floor Box | 45 | 0% | 45 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
158 |  |  |  | Standard Outlet In Floor Box | 41 | 0% | 41 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
159 |  |  |  | HSN Outlet In Floor Box | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
160 |  |  |  | Telecommunication Cabinets | 314 | 0% | 314 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
161 |  |  |  | UFER Unique Flange Equipment Rack | 17 | 0% | 17 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
SITE COMMUNICATIONS
162 |  |  |  | TMH: Telecommunication Maintenance Hole Size: 12' x 7' x 6' | 10 | 0% | 10 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
163 |  |  |  | THH : Telecommunication Handhole Size: 4' x 4' | 11 | 0% | 11 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
164 |  |  |  | CCH: Telecommunication Commercial Handhole Size: 5' x 3' | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
165 |  |  |  | 2" Telecommunication Riser | 34.14 | 10% | 37.554 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
166 |  |  |  | ICS Patch Panel | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
167 |  |  |  | A2 ET504: Communication Ductbank (12) 4" Conduits With Cables | 720.58 | 10% | 792.638 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  |  | A3 ET504: Communication Ductbank (2) 4" Conduits With Cables | 1041.58 | 10% | 1145.738 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  |  | B2 ET504: Communication Ductbank (12) 4" Conduits With Cables | 198.01 | 10% | 217.811 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
170 |  |  |  | B4 ET504: Communication Ductbank (1) 4" Conduits With Cables | 1055.9 | 10% | 1161.49 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  |  | B5 ET504: Communication Ductbank (1) 1" Conduits With Cables | 70.82 | 10% | 77.902 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
172 |  |  |  | C1 ET504: Communication Ductbank (12) 4" Conduits With Cables | 96.72 | 10% | 106.392 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
173 |  |  |  | C2 ET504: Communication Ductbank (12) 4" Conduits With Cables | 128.81 | 10% | 141.691 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
174 |  |  |  | C3 ET504: Communication Ductbank (12) 4" Conduits With Cables | 380.46 | 10% | 418.506 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
175 |  |  |  | C5 ET504: Communication Ductbank (2) 4" Conduits With Cables | 112.15 | 10% | 123.365 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  |  | D3 ET504: Communication Ductbank (2) 2" Conduits With Cables | 17.81 | 10% | 19.591 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
177 |  |  |  | D4 ET504: Communication Ductbank (1) 2" Conduits With Cables | 98.68 | 10% | 108.548 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
178 |  |  |  | D5 ET504: Communication Ductbank (1) 2" Conduits With Cables | 353.59 | 10% | 388.949 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  |  | 288 Strand Fiber Optic In Existing Duct Bank | 2254 | 10% | 2479.4 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
CABLES AND CONDUITS
180 |  |  |  | 3/4" EMT Conduit | 5445 | 10% | 5989.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
181 |  |  |  | CAT 6 Cable | 16335 | 10% | 17968.5 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal (Communications) | [5 empty] | 0 |  |  |  | 0 | 0 |  | 0
|  |  | 280000 | DIVISION 28 - ELECTRONIC SAFETY & SECURITY
FIRE ALARM SYSTEM
182 |  |  |  | Weatherproof Horn And Strobe | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  |  | Weatherproof Emergency Stop Push Button | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
184 |  |  |  | FACP: Fire Alarm Control Panel | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
185 |  |  |  | Wall Mounrted Speaker | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
186 |  |  |  | BMS Blanced Magnetic Swiwtch | 5 | 0% | 5 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  |  | KP Alarm Keypad | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
AUDIO VISUAL SYSTEM
188 |  |  |  | HSD Hallway Status Display/Indicator Light | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  |  | Personnel Altering System Ceiling Speaker | 88 | 0% | 88 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  |  | Personnel Altering System Wall Speaker | 21 | 0% | 21 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  |  | VC Personnel Altering System Volume Control | 27 | 0% | 27 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  |  | IC Personnel Altering System Intercom | 11 | 0% | 11 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
193 |  |  |  | MST 2- Way Communication Master Station | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  |  | CST 2- Way Communication Call Station | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  |  | MC Intercom Master station | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
196 |  |  |  | PA Rack | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  |  | BST 2-Way Communication Base Station | 1 | 0% | 1 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
198 |  |  |  | Intercom Pole Switch | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  |  | BMS Blanced Magnetic Switch | 59 | 0% | 59 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  |  | CR ACS Card Reader | 33 | 0% | 33 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  |  | MD Motion Detector | 15 | 0% | 15 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  |  | PCU Premise Control Unit | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
203 |  |  |  | KP Alarm Keypad | 9 | 0% | 9 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
204 |  |  |  | CAM CCTV Survellance Camera Weather Proof | 3 | 0% | 3 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
205 |  |  |  | ACS Sccess Control System | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
206 |  |  |  | IDS Intrusion Detection System | 2 | 0% | 2 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
207 |  |  |  | CL Cipher Lock | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
208 |  |  |  | Perimeter CCTV Pole height: 15'-0" CCTV Footing: 3' Dia x 7' Deep | 4 | 0% | 4 | EA | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
WIRING AND CONDUITS
209 |  |  |  | 3/4" EMT Conduit | 2100 | 10% | 2310 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
210 |  |  |  | #12 AWG Wiring | 6300 | 10% | 6930 | FT | HRS | HRS | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal (Electronic Safety & Security) | [5 empty] | 0 |  |  |  | 0 | 0 |  | 0
SUB TOTAL | [15 empty] | 0 | 0
OVERHEAD AND PROFIT | [11 empty] | 25% |  |  |  | 0 | 0
TOTAL BASE BID | [15 empty] | 0 | 0
General Notes: The prices used while preparing the estimate were taken from RSMeans online i.e. the standard pricing & the company is not responsible for any kind of variations in the prices. So, it is preferred to review the prices.

## GENERAL SUMMARY
GENERAL SUMMARY
Prepared For: | SAMPLE ELECTRICAL, COMMUNICATIONS, SAFETY & SECURITY
Project ID:
Scope:
No. Of Floors:
Date |  | 2025-01-23
DIVISION NO | DESCRIPTION |  | LABOR Hours | MATERIAL COST | LABOR COST | SUBTOTAL
10000 | GENERAL REQUIRMENTS |  | 0 | 0 | 0 | 0
260000 | ELECTRICAL |  | 0 | 0 | 0 | 0
270000 | COMMUNICATIONS |  | 0 | 0 | 0 | 0
280000 | ELECTRONIC SAFETY & SECURITY |  | 0 | 0 | 0 | 0
SUB TOTAL |  |  | HRS | 0 | 0 | 0
OVERHEAD AND PROFIT |  | 25% |  |  | 0 | 0
TOTAL BASE BID | [5 empty] | 0